Document ID: ${DocumentId} ●Title: ${Document_title}
Revision: ${Version} ● Date of effectiveness: ${Published_date}

	Name	Function	Digitally Signed
Author	${Author1_N/A}	${Author_function1_N/A}	${Author_date_signed1_N/A}
Reviewer 1	${Reviewer1_N/A}	${Reviewer_function1_N/A}	${Reviewer_date_signed1_N/A}
Reviewer 2	${Reviewer2_N/A}	${Reviewer_function2_N/A}	${Reviewer_date_signed2_N/A}
Approver 1	${Approver1_N/A}	${Approver_function1_N/A}	${Approver_date_signed1_N/A}
Approver 2	${Approver2_N/A}	${Approver_function2_N/A}	${Approver_date_signed2_N/A}
Approver 3	${Approver3_N/A}	${Approver_function3_N/A}	${Approver_date_signed3_N/A}
QA	${QA1_N/A}	${QA_function1_N/A}	${QA_date_signed1_N/A}

# Conventions
Text written in Italics (example: RSP Core Library Software Architecture) denotes filenames of relevant documents referred from this procedure.
Text starting with a capital letter (examples: User Needs, Design Validation) denotes phases or particular important elements of a process.

# Purpose
The purpose of this document is to document the RSP Core Library Software Architecture. The architecture description and diagrams must give the reader an understanding of the library components and how to use them.
# Scope
The software architecture describes the RSP core library software and how it interfaces with other software applications using the library.
The software specified in this architecture is the version 1.0 RSP Core Library software.
# Definitions and acronyms
CLI	Command Line Interface, a way of interacting with a computer without using a graphical display.
OS	Operating system giving fundamentals for executing programs, storing data and perform network operations.
FPS	Frames per second. Term used about update frequency of the graphical user interface.
GUI	Graphical User Interface
JSON	JavaScript Object Notation

# RSP Core Library Overview
The software library is written in C++, and hold components for use in these six common work areas:
- Configuration
- Networking
- Internationalization & Language
- GUI
- Filesystem
- Logging

Because multiple programs share a lot of code, the RSP-Core-Library have been created as an external open-source package, all developed according to IEC-62304 for use in medical device systems.
The library is available on Github as rsps/rsp-core-library.
To build the library a compiler supporting at least C++17 is required.
## Documentation
All relevant documentation is contained in the repository, including:
- Development Plan
- Preliminary Risk Assessment
- Safety Classification
- Requirement Specification
- Architecture
- Risk Analysis
- Core library Development Environment
- Verification Plan
- Verification Report
- Validation Plan
- Validation Report
- Release Report

# Configuration
## Scope
Many applications have a use for a good configuration utility. The core library gives an extensive Config class, that can be used for runtime configuration.
## High Level Design
The configuration can be updated at runtime, in the safest possible way, to avoid breaking the device by a bad configuration.
The configuration object is a key/value store, with enumerable keys defined at design time.
Every value and the entire object can have validators assigned, which are executed in case of a value being set.
The values can be all types convertible to JSON even arrays and objects.
All keys must be given a default value at design time. The default value is used to determine the type of the value.
## Configuration Classes

# Networking
# Internationalization
# Graphical User Interface
## Scope
The GUI components is intended to be used on a touch screen in a medical device. They support user interaction on the touch screen and give decent layout possibilities for programmers using the library.
## High Level Design
A design decision was to keep the GUI components simple, powerful and with low CPU and memory requirements.
To achieve this a few design constraints were established early on:
- Every full screen view descents from a Page class.
- Touchable areas are registered with the root Page object and should not overlap.
- Rendering follows the traditional bottom up principle, with invalidate flag in the components.
- All coordinates are screen coordinates, nothing is relative.
- It is for devices, no built-in support for dynamic resizing and scaling.
- No video support.
This way eventual touch events can be handled very quickly, as touch handlers are directly available.
First rendering of a page should be the slowest operation.
## GUI Classes
### Point
A simple class with properties for a 2D coordinate.
### Rect
A class with two Point properties, for TopLeft and BottomRight respectively.
### Color
Class with uint32_t property for RGB and Alpha channel color information. The alpha channel is used for blending and transparency. Not all platforms might support alpha blending, but 100% transparency should be possible.
### Font
Class with properties for font name, style, color, weight, etc.
When used on Linux, the GUI library can use the FreeType2 library to render fonts.
### Pen
Class to control pen color and width.
### Bitmap
Class to handle raster images.
Can load bmp files through filesystem.
### Canvas
All drawing operations are performed on a Canvas. Descendants can implement in memory canvas, Linux Framebuffer canvas or even a DirectX Canvas.
### Ctrl
The base GUI control class with virtual interface functions for rendering. All other controls decent from the Ctrl class.
Ctrl objects contains a boolean "invalidated" property, this is flagged in case the object needs rendering.
### Page
Each view class must decent from Page. Implements interface functions (Ctrl) to start the touch and paint event propagation.
### Panel
A control to group other controls.
### Image
A control to draw bitmap images.
### Label
A control used to draw text and graphics.
### Button
Decents from Label. Draws a button in different states.
Posts an event when pressed.
Posts an event when dragged.
Posts an event when released.
### CheckBox
A control used to draw a checkbox in different states.
Posts an event when clicked.

# Filesystem
# Logging

# References
N/A
# Attachments
N/A
# Version History
Version	Summary of change	Initials
1.0	-